## FR.HE.22.01
S.NO | Equipment Category | Parameter_Name | Parameter_Desc(50 char)
1 | Harmonic IRD 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
2 | Harmonic IRD 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
3 | Harmonic IRD 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
4 | Harmonic IRD 4 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
5 | Harmonic IRD 5 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
6 | Harmonic IRD 6 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
7 | Harmonic IRD 7 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
8 | Harmonic IRD 8 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
9 | Harmonic IRD 9 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
10 | Harmonic IRD 10 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
11 | Harmonic IRD 11 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
12 | Harmonic IRD 12 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
13 | Harmonic IRD 13 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
14 | Harmonic IRD 14 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
15 | Harmonic IRD 15 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
16 | Harmonic IRD 16 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
17 | Harmonic IRD 17 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
18 | Harmonic IRD 18 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
19 | Harmonic IRD 19 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
20 | Harmonic IRD 20 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
21 | Harmonic IRD BU 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
22 | Harmonic IRD BU 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
23 | Harmonic IRD BU 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
24 | Harmonic IRD BU 4 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
25 | Harmonic IRD BU 5 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
26 | Harmonic IRD BU 6 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
27 | Harmonic IRD BU 7 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
28 | Harmonic IRD BU 8 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
29 | Harmonic IRD BU 9 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
30 | Harmonic IRD BU 10 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
31 | Harmonic IRD BU 11 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
32 | Harmonic IRD BU 12 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
33 | Harmonic IRD BU 13 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
34 | Harmonic IRD BU 14 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
35 | Harmonic IRD BU 15 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
36 | Harmonic IRD BU 16 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
37 | Harmonic IRD BU 17 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
38 | Harmonic IRD BU 18 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
39 | Harmonic IRD BU 19 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
40 | Harmonic IRD BU 20 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
41 | Envivio Spark IRD 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
42 | Envivio Spark IRD 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
43 | Envivio Spark IRD 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
44 | Envivio Spark IRD 4 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
45 | Envivio Spark IRD 5 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
46 | Envivio Spark IRD 6 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
47 | Envivio Spark IRD 7 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
48 | Envivio Spark IRD 8 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
49 | Envivio Spark IRD 9 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
50 | Envivio Spark IRD 10 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
51 | Envivio Spark IRD 11 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
52 | Envivio Spark IRD 12 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
53 | Envivio Spark IRD 13 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
54 | Envivio Spark IRD 14 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
55 | Envivio Spark IRD 15 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
56 | Envivio Spark IRD 16 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
57 | Envivio Spark IRD 17 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
58 | Envivio Spark IRD 18 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
59 | Envivio Spark IRD 19 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
60 | Envivio Spark IRD 20 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
61 | Envivio Spark IRD BU 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
62 | Envivio Spark IRD BU 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
63 | Envivio Spark IRD BU 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
64 | Envivio Spark IRD BU 4 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
65 | Envivio Spark IRD BU 5 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
66 | Envivio Spark IRD BU 6 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
67 | Envivio Spark IRD BU 7 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
68 | Envivio Spark IRD BU 8 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
69 | Envivio Spark IRD BU 9 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
70 | Envivio Spark IRD BU 10 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
71 | Envivio Spark IRD BU 11 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
72 | Envivio Spark IRD BU 12 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
73 | Envivio Spark IRD BU 13 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
74 | Envivio Spark IRD BU 14 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
75 | Envivio Spark IRD BU 15 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
76 | Envivio Spark IRD BU 16 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
77 | Envivio Spark IRD BU 17 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
78 | Envivio Spark IRD BU 18 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
79 | Envivio Spark IRD BU 19 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
80 | Envivio Spark IRD BU 20 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
81 | Broadcaster IRD 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
82 | Broadcaster IRD 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
83 | Broadcaster IRD 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
84 | Broadcaster IRD 4 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
85 | Broadcaster IRD 5 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
86 | Broadcaster IRD 6 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
87 | Broadcaster IRD 7 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
88 | Broadcaster IRD 8 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
89 | Broadcaster IRD 9 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
90 | Broadcaster IRD 10 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
91 | Broadcaster IRD 11 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
92 | Broadcaster IRD 12 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
93 | Broadcaster IRD 13 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
94 | Broadcaster IRD 14 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
95 | Electra 8k Encoder 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
96 | Electra 8k Encoder 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
97 | Electra 8k Encoder 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
98 | Electra 8k Encoder 4 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
99 | Electra 8k Encoder 5 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
100 | Electra 8k Encoder 6 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
101 | Electra 8k Encoder 7 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
102 | Electra 8k Encoder 8 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
103 | Electra 8k Encoder 9 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
104 | Electra 8k Encoder 10 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
105 | Electra 8k Encoder 11 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
106 | Electra 8k Encoder 12 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
107 | Electra 8k Encoder 13 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
108 | Electra 8k Encoder BU 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
109 | Electra 8k Encoder BU 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
110 | Electra XT 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
111 | Electra XT 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
112 | Envivio Muse SD 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | Ok
113 | Envivio Muse SD 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | Ok
114 | Envivio Muse SD 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
115 | Envivio Muse SD SD | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
116 | Envivio Muse HD 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
117 | Envivio Muse HD 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
118 | Envivio Muse HD 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
119 | Envivio Muse HD BU | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
120 | Envivio MUX 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
121 | Envivio MUX 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
122 | Harmonic MUX 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
123 | Harmonic MUX 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
124 | Harmonic MUX 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
125 | Harmonic MUX BU 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
126 | Harmonic MUX BU 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
127 | Harmonic MUX BU 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
128 | ASI DA | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
129 | Evertz ADC 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
130 | Evertz ADC 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
131 | Imagine ADC 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
132 | Imagine ADC 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
133 | Imagine ADC 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
134 | Imagine ADC 4 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
135 | Imagine ADC 5 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
136 | Imagine ADC 6 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
137 | ASI Router 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
138 | ASI Router 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
139 | SDI Router 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
140 | SDI Router 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
141 | Evertz DA 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
142 | Evertz DA 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
143 | Evertz LNB PS | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
144 | ION Encoder 1 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
145 | ION Encoder 2 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
146 | ION Encoder 3 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
147 | ION Encoder 4 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
148 | ION Encoder 5 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
149 | ION Encoder 6 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | OK
150 | ION Encoder 7 | Fan Status | OK
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | OK
|  | Earthing Reference Voltage | OK
|  | Redundancy Switching | NA
151 | STBs | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
|  | Redundancy Switching | NA
152 | Data Switch 1 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
153 | Data Switch 2 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
154 | Data Switch 3 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
155 | Data Switch 4 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
156 | Data Switch 5 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
157 | Data Switch 6 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
158 | Data Switch 7 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
159 | Data Switch 8 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
160 | Management Switch 1 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
161 | Management Switch 2 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
162 | Management Switch 3 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
163 | Management Switch 4 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
164 | Management Switch 5 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
165 | Management Switch 6 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
166 | MVIP II 1 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
167 | MVIP II 2 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
168 | MVIP II 3 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
169 | MVIP II 4 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
170 | MVIP I 1 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
171 | Dexin Encoder2 | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA
172 | Stale Encoder | Fan Status | NA
|  | Cleaning | OK
|  | Alarm indication test | No Alarm
|  | Performance Testing | NA
|  | Earthing Reference Voltage | NA